UOM/Projects/22/02

Tender Notice

Sealed tenders/bids are invited from the firms registered with the Sales Tax, Income Tax, and KP Revenue Authority for the following Tender under the HEC-funded project titled “Establishment of Women Sub-Campus at Batkhela, University of Malakand”.

| Sr.# | Particulars | Qty | Closing Date & Time | Opening Date & Time |
| --- | --- | --- | --- | --- |
| 1 | PTZ Motorized camera DS-2DE72301W-AE 2MP, 1/2.8’’ CMOS, 3D DNR, ICR, color: 0.05lus/f1.6, B/W:0.01 lux/F1.6, optical zoom:30x,focus:4.3-129.0mm,Digital zoom:45x,1920x1080:30fps,150m IR distance, Hi-poE &24VAC | 4 | 24-10-2022 till 12:30 PM | 24-10-2022 at 01:00 PM |
| 2 | 4 MP cam DS-2CDE72042WD1 1/3’’ progressive CMOS, ICR, 0lux with IR, 2688-1520:30fbs, 4mm/F2.0 lens (6mm optional), IP66,DC 12v & poE,120dB WDR,3D DNR, BLX,IR range:up to 30m, full metallic housing, support mobile monitoring via HIK- cloud P2P, J.264+optizized codec | 10 |  |  |
| 3 | Security Alaram | 4 |  |  |
| 4 | 4TB surveilance grade Hard drive sata (WD) | 2 |  |  |
| 5 | 6U cabinet wall mount rack | 1 |  |  |
| 6 | UTP cat-6 cable roll-300 meter each | 5 |  |  |
| 7 | 24 port network switch - Gigabit-PoE | 1 |  |  |
| 8 | 8 port network switch Gigabit | 3 |  |  |
| 9 | Power supply 12V, 10 Amp DC | 6 |  |  |
| 10 | Conductor cable for power 7/0..029’’ single core | 720 meter |  |  |
| 11 | HOU-2208 (OCTA UNO ) inverter 2200VA 1800WATT | 1 |  |  |
| 12 | Accessories (connectors, DC pin, cable tie, cable hooks etc | - |  |  |
| 13 | Ecostar 150amp DC battery | 2 |  |  |
| 14 | 3’ Deep x1 wide digging | 1200 meter |  |  |
| 15 | Polyethylene HD pipe 3mm thick, 1.5 inch Dia | 1200 meter |  |  |
| 16 | Undersurface pits 2’x2 | 10 |  |  |
| 17 | 55’’ LED TV with wall mount bracket | 1 |  |  |
| 18 | Installation & configuration service charges | - |  |  |
| 19 | 32 Channel NVR, Support PTZ | 1 |  |  |

Terms & Conditions.

- The original deposit slip of Rs. 2000 as Tender Fee must be attached with Tender Documents, deposited in the University of Malakand Account no “1990-3066927027” at NBP University Campus Branch

- The Vendor must have a valid NTN, STN, and KPRA Registration Number.

- The Bid Security, not less than 2% of the quoted price, in the form of “CDR” in favor of Director Finance, University of Malakand is required to be submitted with the Bid, without which the offer shall be rejected being non-responsive.

- The Vendor will have to submit an undertaking on stamp paper of Rs.50/- regarding the genuineness of the items supplied.

- Item found broken or not according to the specification will be returned at the cost of the supplier.

- 10% of the contract amount will be retained, for at least three months, as performance guarantee, release of which shall be subject to the satisfactory performance report.

- Supply and Installation of the item(s) will be completed within (30) days from the date of issuance of the purchase order. In case of delay, a 1% penalty per day, up to a maximum of 10% of the total cost, will be charged by the firm.

- All applicable taxes will be deducted as per government rules.

- Extension shall be granted in case of extremely unavoidable circumstances and valid justification by the vendor.

- The acceptance of the item will be subject to the inspection and approval of the end-user.

- Bids without supporting documents, undertakings, valid documentary evidence, and those not conforming to the terms and conditions given in these documents will be liable for rejection.

- No supporting document will be accepted, at all, after the opening the Bid.

- The University reserves the right to increase/decrease the number of item(s) or even cancel the tender on the basis of a valid reason.

- Claim of tax exemption, if any, must be supported by relevant documents/certificates from relevant authorities.

- Quoted price must include all charges such as carriage, installation, transportation, and all applicable taxes etc.

- In case of any dispute, the decision of the Vice-Chancellor, on the recommendation of the Purchase Committee, shall be final.

Secretary Purchase Committee for (Projects) University of Malakand.Ph:0945-920512